The Molar Volume of a Gas

In this experiment, you will determine the molar volume of a gas by conducting a chemical reaction that produces a gas, as shown in the reaction equation below.

Mg(s) + 2HCl(aq) → MgCl2(aq) + H2(g)

You will react a known mass of solid magnesium with an excess of hydrochloric acid, in a sealed vessel, and use the pressure change to calculate molar volume at STP.

OBJECTIVES

In this experiment, you will

- Measure the gas production of a chemical reaction by a pressure change.

- Determine the molar volume of the gas produced in the reaction.

- Calculate the molar volume of a gas at STP.

Figure 1

MATERIALS

| LabQuest | 1.0 M hydrochloric acid, HCl, solution |
| --- | --- |
| LabQuest App | small beaker for HCl solution |
| Vernier Gas Pressure Sensor | ruler |
| Temperature Probe | 125 mL Erlenmeyer flask |
| 10 mL graduated cylinder | 20 mL gas syringe |
| 600 mL or one liter beaker | plastic tubing with two Luer-lock connectors |
| magnesium ribbon | rubber stopper assembly with two-way valve |

Noteworthy

Obtain the 125 mL Erlenmeyer flask that you will use for the experiment. Determine and record the available volume of the flask that the hydrogen gas will occupy as it is produced from the reaction of the solid magnesium and the hydrochloric acid solution. Account for the following items when you determine the volume of your flask:

- A 125 mL flask does not have a volume of precisely 125 mL.

- During the experiment, you will seal the flask with a rubber stopper and the stopper will occupy some of the volume of the flask.

- You will add 5 mL of solution (1.0 M HCl solution) to the flask.

PROCEDURE

1.	Obtain and wear goggles.

2.	Obtain a piece of magnesium ribbon. Measure and record its mass to the nearest 0.0001g. Place the piece of magnesium ribbon in a clean and dry 125 mL Erlenmeyer flask.

3.	Prepare a room temperature water bath in a large beaker. The bath should be deep enough to completely cover the gas level in the Erlenmeyer flask.

4.	Connect the Temperature Probe and Gas Pressure Sensor to LabQuest. Choose New from the File menu. If you have older sensors that do not auto-ID, manually set up the sensors.

5.	Use the clear tubing to connect the white rubber stopper to the Gas Pressure Sensor. (About one-half turn of the fittings will secure the tubing tightly.) Twist the white stopper snugly into the neck of the Erlenmeyer flask to avoid losing any of the hydrogen gas that will be produced in the reaction (see Figure 1). Important: Close the valve on the white stopper by turning the white handle so it is perpendicular with the valve stem.

6.	Obtain a small amount of 1.0 M hydrochloric acid. CAUTION: Handle the hydrochloric acid with care. It can cause painful burns if it comes in contact with the skin. Draw 5 mL of HCl solution into the 20 mL syringe. Thread the syringe onto the two-way valve on the white stopper (see Figure 1). Submerge the Erlenmeyer flask into the water bath. Position the Temperature Probe in the water bath so that the tip of the probe is not touching the beaker.

7.	On the Meter screen, tap Rate. Change the data-collection rate to 5 sample/second and the data-collection length to 300 seconds.

8.	With the flask still submerged in the water bath, start data collection. After about 20 seconds open the two-way valve directly below the syringe, press the plunger to add all of the 5 mL of HCl solution to the flask, and pull the plunger back to its original position. Close the two-way valve.

9.	Keep the flask immersed in the water bath as the reaction proceeds. Data collection will stop after 5 minutes. You may stop data collection before 5 minutes have elapsed.

10.	Carefully remove the white stopper from the flask to relieve the pressure in the flask. Important: Do not open the two-way valve to release the pressure in the flask.  This could damage the apparatus.

11.	Examine the pressure data to determine the change in pressure, ∆P, during the reaction. Determine the mean temperature of the water bath during the reaction.

12.	Store the data from the first run by tapping the File Cabinet icon.

13.	Rinse, clean, and dry the flask for a second trial. Obtain a new piece of magnesium ribbon and place it in the flask. Repeat the necessary steps to conduct the second trial and store the data.

14.	Follow the same procedure to conduct a third trial.

15.  Measure the volume of the Erlenmeyer Flask by filling it with water, putting the rubber stopper in it and then pouring the water into a graduated cylinder.  Record the volume.

DATA TABLE

Create a table to store your data.

DATA ANALYSIS

Using your data, calculate the volume of one mole of hydrogen gas (molar volume) at STP.      Show all steps necessary.  (“Tell the story”)

Conclusion and Evaluation

Usual format…